Attachment 4 of the tender documentation

Specification of technical parameters of the supply for evaluation purposes

Partial evaluation criterion 2 Technical level of the tender proposal and functional properties of the supply

| Parameter name | Specification of the Contracting Authority’s requirement | Binding parameters offered by the Contractor (*to be filled by the Contractor) |
| --- | --- | --- |
| Total number of sensors | Max. 4 sensors |  |
| No. of spatial pixels VNIR | 750 – 2000 spatial pixels |  |
| No. of spatial pixels SWIR | 500 – 2000 spatial pixels |  |
| No. of spatial pixels LWIR | 500– 2000 spatial pixels |  |

Note of the Contracting Authority: The Contracting Authority doesn´t permit lower quantity of spatial pixels then defined in this table above; The Contracting Authority permits potential exceeding of upper limit while the higher quantity of spatial pixels will not be favoured under the evaluation.

……………………………………..

Signature of the person authorized to act on behalf of the Contractor